Nasal NO measurement in preschool children: feasibility and validation of a tidal breathing technique with a straw

Andreas Jung1,2, Christian Geidel1, Irmela Heinrichs1, Alexander Möller3, Günter Menz1, Roger Lauener1,2

1 Hochgebirgsklinik Davos

2 Christine Kühne – Center for Allergy Research and Education (CK-CARE)

3 Division Respiratory Medicine, University Childrens’ Hospital Zurich

Background: Screening for primary ciliary dyskinesia (PCD) in preschool children is difficult, as non-invasive techniques such as measurement of nasal nitrite oxide (nNO) have not been standardized and reference values are lacking. This study aimed to compare a conventional nNO measurement technique with a tidal breathing technique through a straw.

Methods: nNO was assessed by the Niox Flex system in children and adults with chronic rhino-sinusitis (CRS), confirmed PCD and in healthy controls. Measurements consisted of 2 tests with subjects holding their breath (BH), followed by 2 tests with tidal breathing through a straw (TB).

Results: 88 subjects were recruited. 71 (81%) or 77 (88%) subjects performed either a valid BH or a valid TB test, respectively. In the preschool age group (n=22), 19 subjects (86%) had a valid TB test with only 10 individuals (45%) performing a valid BH test. A high correlation between TB and BD values was observed (r2= 0.954, p<0.001). When controls were stratified for age (<6 yrs n=9, 6-15 yrs n=18, >=16 yrs n=21), there was a trend towards lower NO levels for younger children in the preschool age group (r2=0.341, p<0.1).

Conclusion: Nasal NO measurement by TB with a straw is a feasible and valid method. Results correlate well with nNO levels measured by conventional techniques. Almost all preschool children were able to perform a valid TB test. A larger study is on the way to determine reference values in preschool children using the established TB method with a straw.